# Background Research

The following peer-reviewed sources directly support the design rationale, clinical need, and technical approach of our device:

Vibroacoustic therapy to treat pain in the temporomandibular joint Kitsantas et al. ¦ ScienceDirect / Medical Hypotheses, 2024 URL: https://www.sciencedirect.com/science/article/abs/pii/S0306987724000641 Relevance: Establishes Vibroacoustic Therapy (VAT) as a safe, non-invasive, and plausible therapeutic approach for TMJ pain. Confirms the clinical need and mechanism rationale for our therapy component. Calls for trials — our device is a prototype toward that pipeline.

Local Vibratory Stimulation for Temporomandibular Disorder Myofascial Pain: A Randomised, Double-Blind, Placebo-Controlled Preliminary Study Calvo-Lobo et al. ¦ PMC / BioMed Research International, 2020 URL: https://pmc.ncbi.nlm.nih.gov/articles/PMC7735843/ Relevance: Randomized controlled trial (n=54) demonstrating statistically significant reduction in TMJ pain, muscular pain, and headache using local vibration therapy at 50-100 Hz applied to the masseter and temporal muscles. Directly validates our choice of vibration frequency and target anatomy.

sEMG and Vibration System Monitoring for Differential Diagnosis in Temporomandibular Joint Disorders Kulesa-Mrowiecka et al. ¦ MDPI Sensors, 2022 URL: https://www.mdpi.com/1424-8220/22/10/3811 Relevance: Demonstrates that vibration and sEMG signals can be used together for TMD differential diagnosis and rehabilitation monitoring. Supports our use of piezoelectric vibration sensing as a legitimate diagnostic modality for TMJ assessment.

Effects of vibratory feedback stimuli through an oral appliance on sleep bruxism: A 14-week intervention trial Various ¦ ScienceDirect / Journal of Prosthodontic Research, 2023 URL: https://www.sciencedirect.com/science/article/pii/S1991790223003707 Relevance: Directly validates the biofeedback-via-vibration approach for bruxism management over 14 weeks. A piezoelectric film sensor detects clenching events and triggers a vibration response — the same core loop as our device, which we have adapted into an external headband form factor.

Sensor and Apparatus for Measurement of Muscle Activity in the Detection and Treatment of Bruxism Disorder US Patent US10820853B2 ¦ United States Patent Office, 2020 URL: https://patents.google.com/patent/US10820853B2/en Relevance: Validates the specific sensor placement approach we use: piezoelectric film on the temporalis muscle above the ear for bruxism detection, noting this location uniquely contracts during clenching but not during speech or normal facial movement — reducing false positives.

Toward Wearables for Bruxism Detection: Voluntary Oral Behaviors Sound Recorded Across the Head Depend on Transducer Placement Nahhas et al. ¦ PMC / Clinical and Experimental Dental Research, 2024 URL: https://pmc.ncbi.nlm.nih.gov/articles/PMC11417139/ Relevance: 2024 systematic analysis of wearable bruxism detection approaches. Explicitly identifies that current devices are limited by compliance issues with electrodes and intra-oral devices, and that there is a 'lack of real-world testing' — the exact gap our external wearable design targets.

Research Summary:  Our device design is backed by: (1) a randomized controlled trial validating vibration therapy for TMD, (2) a 14-week clinical trial validating piezo-detected bruxism + vibration biofeedback, (3) a patent validating our exact sensor placement, (4) a systematic review identifying the gap we fill, and (5) engineering literature on piezoelectric sensors for jaw monitoring.

Design and Development of Wearable Vibration Assist Device for Tic Management Pavithra et al. ¦ IJRASET (Int'l Journal for Research in Applied Science & Engineering Technology), 2025 URL: https://www.ijraset.com/research-paper/wearable-vibration-assist-device-for-tic-management Relevance: - Uses ESP32 as core MCU with BLE and Arduino-based firmware, plus FreeRTOS task scheduling - MPU6050 IMU for motion detection at 50 Hz; Kalman filter for noise reduction — same filtering approach applicable to PVDF ADC signal - Detection latency of ~200 ms from event to vibration feedback, with Bluetooth data logging (provides a validated latency benchmark for our system) - ERM vibration motor driven via a BC547 NPN transistor switch (DIRECTLY shows transistor + PWM circuit we need to drive our motors from ESP32 GPIO - Reference this source for block diagrams, transistor motor-drive circuit, FreeRTOS task structure, and BLE data logging

Development and in-vitro validation of an intraoral wearable biofeedback system for bruxism management Al-Hamad et al. ¦ Frontiers in Bioengineering and Biotechnology, 2025 URL: https://doi.org/10.3389/fbioe.2025.1572970 Relevance: - Bite guard with integrated stress and vibration sensors + microcontroller and DAQ for bruxism detection. Force/piezo signals processed with AI algorithms to classify occlusal force levels. - Shows how to establish sensing thresholds for jaw-force classification

Vibrotactile biofeedback devices in Parkinson's disease: a narrative review Gonçalves et al. ¦ Medical & Biological Engineering & Computing, 2021 URL: https://link.springer.com/article/10.1007/s11517-021-02365-3 Relevance: - Narrative review of wearable vibrotactile systems using ERM and LRA motors on belts and harnesses (surveys design patterns across dozens of published devices) - Design rules: Actuator placement, motor count vs. cognitive load, vibration intensity and frequency ranges, and general biofeedback loop design guidelines - Preference for miniaturized wearable actuators and sensors; biofeedback loop providing rescue strategies during or after event detection - Vibrotactile cues proved suitable in any environment with positive patient adherence - Reviews studies across vibration frequencies; findings are applicable to choosing our ERM motor operating frequency for temporalis placement

User Participatory Design of a Wearable Focal Vibration Device for HomeBased Stroke Rehabilitation Wang et al. ¦ Sensors, MDPI, 2022 URL: https://www.mdpi.com/1424-8220/22/9/3308/review_report Relevance: - References for hardware design: - Motors draw ~80 mA (130 mA peak), confirms that we need a transistor or MOSFET driver, not direct GPIO drive - 3D-printed PLA pods sealed with epoxy - PWM intensity control compensates for battery voltage drop over discharge - Single-cell 500 mAh LiPo with TP4056-style charging circuit and battery voltage monitoring via microcontroller

Soft skin-interfaced mechano-acoustic sensors and haptic actuators for wireless monitoring and treatment of TMJ disorders Kang et al. ¦ npj Digital Medicine (Nature Publishing Group), 2022 URL: https://www.nature.com/articles/s41746-022-00691-w Relevance: - Dual IMUs + mechano-acoustic sensing for jaw monitoring; BLE streaming to GUI with real-time analytics -> demonstrates clinical feasibility of external wearable jaw sensing - Flexible PCB with LiPo battery in a skin-conformal patch design provides reference for conformal wearable packaging on the head/jaw region

A self-powered flexible piezoelectric sensor patch for deep learning-assisted motion identification and rehabilitation training system Guo et al. ¦ Nano Energy (Elsevier), 2024 URL: https://doi.org/10.1016/j.nanoen.2024.109427 Relevance: - Uses PVDF fibrous film as a flexible piezoelectric sensor patch for joint motion monitoring and provides signal characteristics (voltage output, sensitivity, frequency response) <- directly applicable to our PVDF sensor on the temporalis - Signal processing path: Piezoelectric signal -> feature extraction -> LSTM deep learning classifier for motion identification - Quantitative sensitivity and noise floor data for PVDF on joints (useful for setting our ADC threshold and understanding what signal amplitude to expect from the temporalis muscle)